## Slide 1
DeepMedic and U-Net neuronal network architectures
for lung segmentation in CT scans
Lionel Rajaona
Rajat Balbotra
Daniel Allen
Steffen Bleher

## Slide 2
Outline
Lung segmentation and LUNA16 dataset
CNN architectures
  DeepMedic
  U-Net
Process and problems
Results
Conclusion

## Slide 3
1. Lung segmentation and LUNA16 dataset

## Slide 4
1. Lung segmentation and LUNA16 dataset
Medical Image Computation (MIC)
Image Segmentation
Computed Tomography (CT) slices
Notes: A lot of image data in medical application, ml can help to deal with this data  MIC

## Slide 5
1. Lung segmentation and LUNA16 dataset
Medical Image Computation (MIC)
Image Segmentation
Computed Tomography (CT) slices
Extract a 3D structure of the lung
First step for cancer detection, …
Notes: A lot of image data in medical application, ml can help to deal with this data  MIC

## Slide 6
1. Lung segmentation and LUNA16 dataset
Dataset description
Notes: A lot of image data in medical application, ml can help to deal with this data  MIC

## Slide 7
2. Convolutional neural network architectures

## Slide 8
2. CNN architectures – DeepMedic
3D convolutional neural network
Initially designed for brain tumors

## Slide 9
2. CNN architectures – U-Net
text

## Slide 10
3. Process and problems

## Slide 11
3. Process and problems
Preprocessing
Training and Validation
↯ Issues with huge dataset
↯ Recognition of different labels

## Slide 12
Preprocessing
  Data type conversions (mhd/raw  nii.gz)
  Manual check of dataset
  Normalization: μ = 0 and σ = 1 (ITK library)
3. Process and problems

## Slide 13
3. Process and problems
  Training
    Setup
    U-net -> implementation
    DeepMedic -> open-source code

## Slide 14
3. Process and problems
  Validation
    Metrics
      Dice coefficient:
    Loss
      Binary-cross entropy
Notes: Smooth factor 1: stands for backpropagation
Num:
Denom: cardinality

## Slide 15
3. Process and problems
↯ Issues with huge dataset
  Providing images as a matrix with size [512, 512, number of slices]
  Generation of dataset in real-time and feeding it right away to the training process Keras DataGenerator

## Slide 16
3. Process and problems
↯ Issues with huge dataset
  Providing images as a matrix with size [512, 512, number of slices]
  ↯ RAM problem
   just loading reference to image data

## Slide 17
3. Process and problems
↯ Recognition of different labels
  Network architectures not suitable for recognizing positional information


## Slide 18
4. Evaluation

## Slide 19
4. Evaluation
Training process
    graphs

## Slide 20
4. Evaluation
Prediction with DeepMedic
original
prediction

## Slide 21
4. Evaluation
Prediction with U-net
original
prediction

## Slide 22
4. Evaluation
Metrics for evaluation
  Hausdorff distance maximum distance of a element in a set to the nearest element in the other set

## Slide 23
4. Evaluation
Metrics for evaluation
  Mean distance average over distances of all elements in one set to the nearest element in the other set

## Slide 24
4. Evaluation
Comparison in the two metrics
graph for the 20 pictures
 Superior architecture for the task:

## Slide 25
5. Conclusion

## Slide 26
5. Conclusion
Biggest Issues for Data Analytics with Images:
  Allocation of computational resources
  data preparation
Next step:
Cancer detection by identifying ill nodules
Notes: Detect ay abnormality in the lung, anithing which could warn a tumor

## Slide 27
Thanks for the attention
Questions?